# Post-Deployment Monitoring and Algorithmovigilance Cadence

AIHE-D03

Primary chapter: 12 — Decision Architecture and Lifecycle Governance

Additional chapter alignment: 5, 11, 12

Legacy aliases: AIHE-S

Version: V1.0

# Purpose

Define recurring and event-triggered surveillance across technical, workflow, safety, equity, economic, and contractual domains.

# Instructions

Create a controlled project copy before entering institutional information.

Complete the record with the people who own the decision, evidence, workflow, budget, safeguards, and follow-up actions.

Distinguish documented evidence from assumptions, unresolved questions, and planned evidence collection.

Record the system and version, intended use, population, setting, comparator, evidence cut-off, accountable owner, decision conditions, review triggers, and exit or renewal criteria.

Do not enter identifiable patient information, credentials, private keys, or confidential contract details into uncontrolled copies.

# Status and limitations

This resource is a structured decision-support and notes aid. It is not a validated clinical instrument, legal opinion, regulatory approval, accreditation decision, cybersecurity certification, procurement authorization, or health technology assessment. Adapt it to the applicable jurisdiction, institution, population, workflow, evidence base, and accountable authority.

# Blank institutional template

| Frequency | Purpose | Minimum review content | Owner or forum |
| --- | --- | --- | --- |
| Continuous or daily | Technical integrity and immediate service protection | Availability, latency, interfaces, input completeness, deployed version, logging, cybersecurity alerts, and fallback | Technical operations and service owner |
| Weekly during pilots or high-consequence use | Workflow and operational review | Output volume, action, overrides, delays, workarounds, review burden, near misses, and downstream capacity | Clinical and operational leads |
| Monthly | Multidisciplinary safety and performance review | Technical and human–AI performance, outcomes, complaints, incidents, vendor notices, training, and corrective actions | Quality and AI-governance forum |
| Quarterly or semi-annually | Distributional, workforce, and economic review | Subgroups, access, workload, adoption, lifecycle cost, benefit realization, budget impact, equity, and trust | Economics, quality, equity, workforce, and governance leads |
| Annually | Formal renewal, restriction, replacement, or retirement | Current intended use, evidence, value, residual risk, contract, updates, alternatives, monitoring capacity, and exit readiness | Executive decision authority |
| Event triggered | Material change or serious incident review | Model, data, threshold, interface, workflow, vendor, security, policy, population, price, or serious performance change | Named incident or change authority |

# Worked synthetic example

This example demonstrates completion logic only. It is not an empirical finding and should not be reused as institutional evidence.

| Frequency | Purpose | Minimum review content | Owner or forum |
| --- | --- | --- | --- |
| Continuous or daily | Technical integrity and immediate service protection | Availability, latency, interfaces, input completeness, deployed version, logging, cybersecurity alerts, and fallback | Technical operations and service owner |
| Weekly during pilots or high-consequence use | Workflow and operational review | Output volume, action, overrides, delays, workarounds, review burden, near misses, and downstream capacity | Clinical and operational leads |
| Monthly | Multidisciplinary safety and performance review | Technical and human–AI performance, outcomes, complaints, incidents, vendor notices, training, and corrective actions | Quality and AI-governance forum |
| Quarterly or semi-annually | Distributional, workforce, and economic review | Subgroups, access, workload, adoption, lifecycle cost, benefit realization, budget impact, equity, and trust | Economics, quality, equity, workforce, and governance leads |
| Annually | Formal renewal, restriction, replacement, or retirement | Current intended use, evidence, value, residual risk, contract, updates, alternatives, monitoring capacity, and exit readiness | Executive decision authority |
| Event triggered | Material change or serious incident review | Model, data, threshold, interface, workflow, vendor, security, policy, population, price, or serious performance change | Named incident or change authority |